Charallave, 12 de Mayo de 2010.

To: Concimeca Construcción

From: Derwick Quality Assurance Manager

Subject: Quality Directive for Pipe Supports.

On 11 May 2010, I was notified by Asincro that 2 Non Conformance Reports were to be issued for the concrete placements on the pipe supports (sleepers). There was previously 1 prior issued Non conformance on the pipe supports concrete placement. All 3 Non Conformance Reports have been issued for failure to give sufficient time to Client Representative or Derwick QA /QC and Engineering to allow for compliance inspections prior to ordering and placement of concrete.

To resolve this issue and prevent further Non Conformance Issues:

- Rebar cages will be inspected and dimensional checked prior to placement on seal slab and forming.

- All documentation will be fully routed, approved and signed.

- Copy of signed documentation package will be delivered to Concimeca Quality Control with written work release to continue with concrete placement.

- Laboratory personnel and concrete ordering will then be coordinated to place concrete.

This Quality Directive is to be implemented immediately. Failure to comply with this directive which results in further Non Conformance and concrete removal will be the financial responsibility of Concimeca.

______________________________________			________________________________________

Randel Prentice 						Wilfredo Cazorla

Derwick QA Manager					Concimeca Project Manager

______________________________________________

Carlos Gaset

LaRaisa Site Manager